## Slide 1: Examining the variation between healthy and cancer patient plasma via PANORAMA
Pres. by Nareg Ohannesian
6-10-2021

## Slide 2: PANORAMA of plasma sample 962A at different times
PANORAMA (1.12 ± 0.035)
Time: 60 min wash
Count: 72
PANORAMA
Time: 30 min
Count: 208
PANORAMA (1.17 ± 0.08)
Time: 60 min
Count: 460
Scale bar: 10 µm
16 % of detected particles captured after wash

## Slide 3: PANORAMA of plasma sample 830A at different times
PANORAMA
Time: 60 min
Count: 767
PANORAMA
Time: 15 min
Count: 160
PANORAMA
Time: 30 min
Count: 530

## Slide 4: PANORAMA of plasma sample 830A at different times
PANORAMA (1.11 ± 0.045)
Time: 60 min
Count: 767
PANORAMA (1.10 ± 0.035)
Time: 60 min wash
Count: 283
36 % of detected particles captured after wash

## Slide 5: PANORAMA of plasma sample HCR 55 at different times
PANORAMA (1.13 ± 0.035)
Time: 60 min wash
Count: 18
PANORAMA
Time: 45 min
Count: 52
PANORAMA
Time: 60 min
Count: 76
Scale bar: 10 µm
23 % of detected particles captured after wash (Previously 16%)

## Slide 6: Size information of Captured particles from HCR 55

## Slide 7: Videos: plasma samples
Scale bar: 10 µm
35 particles roaming around
Particles show from 0.5 to 1 micron
21 particles roaming around
HCR 55
HCR 153

## Slide 8: Particle sizing from 830A
IR | Derived size (nm) | Actual size (nm)
1.98 | 930 | 975
1.48 | 720 | 780
1.52 | 740 | 780
2.04 | 936 | 975