## Slide 1: Monitoring particle and exosome count of cancer patient plasma pre-treatment

## Slide 2: Ratio of Exosome After Wash/All particles from healthy and cancerous plasma
Chart: Plasma Samples
| HCR 001 | HCR 002 | HCR 055 | HCR 072 | HCR 083 | HCR 087 | HCR 153 | HCR 154 | HCR 155 | HCR 156 | HCR 157 | HCR 158 | HCR 161 | HCR 164 | HCR 5 | HCR 6 | HCR 28 | HCR 140 | HCR 160 | 10A | 12A | 13A | 14A | 24A | 260A | 280A | 300A | 745A | 823A | 825A | 827A | 830A | 962A | 991A | 996A | 1001A | 1003A | 1005A | 1006A | 1009A | 1013A | 1021A
EX/ALL | 31.8841 | 45.9627 | 13.8889 | 11.4286 | 25 | 25.5172 | 9.0909 | 66.6667 | 4.5494 | 5.7143 | 11.2121 | 5.4679 | 15.9236 | 1.1 | 20.2247 | 20 | 33.3333 | 28.9474 | 49.4624 | 23.5678 | 23.5813 | 12.0296 | 34.1099 | 17.1589 | 34.0019 | 12.4967 | 31.1195 | 22.6133 | 27.1123 | 7.2172 | 12.6493 | 34.7387 | 15.6182 | 34.5821 | 44.5902 | 65.5574 | 70.1456 | 26.5152 | 30.8282 | 48.6747 | 19.8423 | 25.4902

## Slide 3: Ratio of Retained Exosome/Exosomes from healthy and cancerous plasma
Chart: Plasma Samples
| HCR 001 | HCR 002 | HCR 055 | HCR 072 | HCR 083 | HCR 087 | HCR 153 | HCR 154 | HCR 155 | HCR 156 | HCR 157 | HCR 158 | HCR 161 | HCR 164 | HCR 5 | HCR 6 | HCR 28 | HCR 140 | HCR 160 | 10A | 12A | 13A | 14A | 24A | 260A | 280A | 300A | 745A | 823A | 825A | 827A | 830A | 962A | 991A | 996A | 1001A | 1003A | 1005A | 1006A | 1009A | 1013A | 1021A
AWEX/BWEX | 44 | 75.5102 | 23.8095 | 19.0476 | 100 | 36.6337 | 12 | 66.6667 | 5.317 | 10.9589 | 14.3411 | 19.697 | 20.6612 | 1 | 33.3333 | 31.8182 | 50 | 42.3077 | 67.6471 | 39.7311 | 30.8802 | 23.2143 | 56.2727 | 33.8014 | 59.1362 | 19.1117 | 47.3988 | 45.2267 | 51.2281 | 7.9807 | 20.7665 | 55.5088 | 27.5862 | 43.1655 | 91.2752 | 80.2444 | 96.9799 | 46.6667 | 53.1746 | 60.2086 | 28.3835 | 39.1714

## Slide 4
Scale bar: 10 µm
PANORAMA of Plasma Sample 12-2-21-2 (13A before treatment)
Time: 60 min
Count: 1621
Time: 60 min wash
Count: 195
Note: 21 % response to miRNA-21
Prediction: Looks Cancerous

## Slide 5: Comparison of Plasma Particle Count After/Before Treatment
Plasma Sample | All | Large | Exosome all | Captured Exosomes | Based on Exosome Number After treatment
10 | 0.88832487 | 0.964349376 | 0.83618582 | 1.316923077 | Cancer
12 | 2.82644628 | 6.412587413 | 1.71645022 | 2.053738318 | Cancer (D)
13 | 0.0197409 | 0.008962868 | 0.0297619 | 0.056410256 | Healthy (A)
14 | 0.03956044 | 0.037946429 | 0.04060914 | 0.009020619 | Healthy relapsed
24 | 0.77443992 | 0.789038263 | 0.76028084 | 1.278931751 | Cancer (D)
260 | 0.05635148 | 0.017977528 | 0.08471761 | 0.033707865 | Healthy
280 | 0.96322942 | 1.427251732 | 0.71760391 | 2.008528785 | Cancer
300 | 0.27798861 | 0.314917127 | 0.25867052 | 0.030487805 | Healthy
745 | 0.6716 | 0.7048 | 0.6384 | 0.302476415 | Looks Cancerous (A)
823 | 2.52924791 | 2.790927022 | 2.29649123 | 0.904109589 | Cancer
825 | 0.88620342 | 3.852631579 | 0.57238307 | 2.260465116 | Cancer
827 | 1.52035831 | 1.970833333 | 1.23128342 | 2.246781116 | Cancer (Alive need more)
830E | 1.18181818 | 1.211267606 | 1.16421053 | 0.633375474 | Cancer
962 | 0.8373102 | 0.995 | 0.7164751 | 0.569444444 | Healthy (relapsed need more)
991 | 6.70605187 | 16.28985507 | 4.32733813 | 4.875 | Cancer (relapsed or D)
996 | 0.30163934 | 0.262820513 | 0.34228188 | 0.198529412 | Healthy
1001 | 0 | 0 | 0 | 0 | 
1003E | 0.50970874 | 0.903508772 | 0.3590604 | 0.235294118 | Healthy (A)
1005 | 0.57575758 | 0.754385965 | 0.44 | 0.066666667 | Healthy (A)
1006 | 0 | 0 | 0 | 0 | 
1009 | 0.31445783 | 0.918238994 | 0.17138599 | 0.027227723 | Healthy (A)
1013 | 0 | 0 | 0 | 0 | 
1021 | 0 | 0 | 0 | 0 | 
Note: Values below 1 are particle reduced in count.

## Slide 6: Experimental Details for plasma post treatment 3 months later (12-2-21 set)
Used samples: 7, 8, 9, 10, 11, 12, 13, and 14
Plasma volume: 20 µl.
Type of Cancer: unknown.
Concentration: unknown.
Size Distribution: unknown.
Experimental duration: 60 min.
Antibody used: CD9, CD81, and CD63.

## Slide 7
Scale bar: 10 µm
PANORAMA of Plasma Sample 12-2-21-7
Time: 60 min
Count: 1203
Time: 60 min wash
Count: 156
Note: 9 % response to miRNA-21
Prediction: Looks Cancerous; but lower end of the cancer range

## Slide 8
Scale bar: 10 µm
PANORAMA of Plasma Sample 12-2-21-8
Time: 60 min
Count: 382
Time: 60 min wash
Count: 31
Note: 0 % response to miRNA-21
Prediction: Looks Healthy

## Slide 9
Scale bar: 10 µm
PANORAMA of Plasma Sample 12-2-21-9
Time: 60 min
Count: 195
Time: 60 min wash
Count: 31
Note: 0 % response to miRNA-21
Prediction: Looks Healthy

## Slide 10
Scale bar: 10 µm
PANORAMA of Plasma Sample 12-2-21-10
Time: 60 min
Count: 762
Time: 60 min wash
Count: 200
Note: 0 % response to miRNA-21
Prediction: Looks Cancerous

## Slide 11
Scale bar: 10 µm
PANORAMA of Plasma Sample 12-2-21-11
Time: 60 min
Count: 166
Time: 60 min wash
Count: 61
Note: 0 % response to miRNA-21
Prediction: Looks Healthy; Slightly higher than normal range for captured exosomes

## Slide 12
Scale bar: 10 µm
PANORAMA of Plasma Sample 12-2-21-12
Time: 60 min
Count: 261
Time: 60 min wash
Count: 69
Note: 0 % response to miRNA-21
Prediction: Looks Healthy; Slightly higher than normal range for captured exosomes

## Slide 13
Scale bar: 10 µm
PANORAMA of Plasma Sample 12-2-21-13
Time: 60 min
Count: 254
Time: 60 min wash
Count: 56
Note: 0 % response to miRNA-21
Prediction: Looks Healthy; Slightly higher than normal range for captured exosomes

## Slide 14
Scale bar: 10 µm
PANORAMA of Plasma Sample 12-2-21-14
Time: 60 min
Count: 93
Time: 60 min wash
Count: 28
Note: 0 % response to miRNA-21
Prediction: Looks Healthy;

## Slide 15: Summary of particle count post treatment (3 months)
Sample (12-2-27) | 7 13E alive | 8 Alive 13F | 9 13G alive | 10 14F (relapsed) | 11 14G (maybe chemo) | 12 745F | 13 745G Alive | 14 (HCR 142)
Total Count | 1203 (584) | 382 (209) | 195 (175) | 762 (406) | 166 (155) | 261 (136) | 254 (161) | 93 (66)
Retained Exosomes | 156 | 31 | 31 | 200 | 61 | 69 | 56 | 28
Prediction | Cancer | Healthy | Healthy | Cancer | Healthy | Healthy | Healthy | Healthy

## Slide 16: Experimental Details for plasma stage one lung cancer
Used samples: 7A, 8A, 9A, and 11A
Plasma volume: 20 µl.
Type of Cancer: unknown.
Concentration: unknown.
Size Distribution: unknown.
Experimental duration: 60 min.
Antibody used: CD9, CD81, and CD63.

## Slide 17
Scale bar: 10 µm
PANORAMA of Plasma Sample 0737-7A
Time: 60 min
Count: 901
Time: 60 min wash
Count: 135
Note: Before wash count matches the CI of stage 3 (500-1200)
After wash count lower than the CI for stage 3 (155-304)
Note: 0 % response to miRNA-21

## Slide 18
Scale bar: 10 µm
PANORAMA of Plasma Sample 0737-8A
Time: 60 min
Count: 1842
Time: 60 min wash
Count: 221
Note: Before wash count above the CI of stage 3 (500-1200)
After wash count matches the CI for stage 3 (155-304)
Note: 0 % response to miRNA-21

## Slide 19
Scale bar: 10 µm
PANRORAMA of Plasma Sample 0737-9A
Time: 60 min
Count: 2190
Time: 60 min wash
Count: 454
Note: Before wash count above the CI of stage 3 (500-1200)
After wash count above the CI for stage 3 (155-304)
Note: 3 % response to miRNA-21

## Slide 20
Scale bar: 10 µm
PANRORAMA of Plasma Sample 0737-11A
Time: 60 min
Count: 1125
Time: 60 min wash
Count: 333
Note: Before wash count match the CI of stage 3 (500-1200)
After wash count match the CI for stage 3 (155-304)
Note: 0 % response to miRNA-21

## Slide 21: Experimental Details for plasma Esophagus Cancer
Used samples: 353A, 354, 371, 389A, 397A, 434A, 440A, 447A, and 451A
Plasma volume: 20 µl.
Type of Cancer: unknown.
Concentration: unknown.
Size Distribution: unknown.
Experimental duration: 60 min.
Antibody used: CD9, CD81, and CD63.

## Slide 22
Scale bar: 10 µm
PANRORAMA of Plasma Sample 0307-434A
Time: 60 min
Count: 846
Time: 60 min wash
Count: 237
Note: 0 % response to miRNA-21
Look cancerous

## Slide 23
Scale bar: 10 µm
PANORAMA of Plasma Sample 0307-440A
Time: 60 min
Count: 1105
Time: 60 min wash
Count: 131
Note: 0 % response to miRNA-21
Looks cancerous; slightly lower retained exosomes.

## Slide 24
Scale bar: 10 µm
PANORAMA of Plasma Sample 0307-447A
Time: 60 min
Count: 405
Time: 60 min wash
Count: 107
Note: 0 % response to miRNA-21
Looks cancerous; slightly lower retained exosomes.

## Slide 25
Scale bar: 10 µm
PANORAMA of Plasma Sample 0307-451A
Time: 60 min
Count: 266
Time: 60 min wash
Count: 161
Note: 0 % response to miRNA-21
Looks cancerous; Low number of large vesicles but retained exosomes are within cancer range.

## Slide 26: Image of Detected Particles via PANORAMA (307-389A)
Scale Bar: 10 µm
Before Wash
Number of Particles detected: 1207
After Wash
Number of Particles detected: 1089

## Slide 27: Image of Detected Particles via PANORAMA (307-397A)
Scale Bar: 10 µm
Before Wash
Number of Particles detected: 429
After Wash
Number of Particles detected: 82

## Slide 28: Image of Detected Particles via PANORAMA (307-371A)
Scale Bar: 10 µm
Before Wash
Number of Particles detected: 516
After Wash
Number of Particles detected: 253

## Slide 29: Image of Detected Particles via PANORAMA (307-353A)
Scale Bar: 10 µm
Before Wash
Number of Particles detected: 383
After Wash
Number of Particles detected: 115

## Slide 30: Image of Detected Particles via PANORAMA (307-354A)
Scale Bar: 10 µm
Before Wash
Number of Particles detected: 411
After Wash
Number of Particles detected: 229

## Slide 31: Summary
Sample Name | Before Wash Count | After Wash Count | Retention Rate (%)
0307-389A | 1207 | 1089 | 90.22
0307-397A | 429 | 82 | 19.11
0307-353A | 383 | 115 | 30.03
0307-354A | 411 | 229 | 55.7
0307-371A | 516 | 253 | 49.03
0307-434A | 846 | 237 | 28
0307-440A | 1105 | 131 | 11.85
0307-447A | 405 | 105 | 25.92
0307-451A | 266 | 161 | 60.52
Healthy Plasma Exosome Range is [5-40]