## Slide 1: Monitoring particle and exosome count of cancer patient plasma pre-treatment

## Slide 2: Experimental Details for plasma lung cancer stage one plasma
Used samples: all stage one
Plasma volume: 20 µl.
Type of Cancer: unknown.
Concentration: unknown.
Size Distribution: unknown.
Experimental duration: 60 min.
Antibody used: CD9, CD81, and CD63.

## Slide 3
Scale bar: 10 µm
PANORAMA of Plasma Sample 0737-2A
Time: 60 min
Count: 2251 (185)
Time: 60 min wash
Count: 1048
Note: Before wash count exceeds the CI of stage 3 (500-1200)
After wash count exceeds the CI for stage 3 (155-304)
Note: 31 % response to miRNA-21

## Slide 4
Scale bar: 10 µm
PANORAMA of Plasma Sample 0737-13A
Time: 60 min
Count: 501 (132)
Time: 60 min wash
Count: 129
Note: Before wash count matches the CI of stage 3 (500-1200)
After wash count slightly lower CI for stage 3 (155-304)
Note: 0 % response to miRNA-21

## Slide 5
Scale bar: 10 µm
PANORAMA of Plasma Sample 0737-17A
Time: 60 min
Count: 1042 (329)
Time: 60 min wash
Count: 104
Note: Before wash count matches the CI of stage 3 (500-1200)
After wash count slightly lower CI for stage 3 (155-304)
Note: 0 % response to miRNA-21

## Slide 6
Scale bar: 10 µm
PANORAMA of Plasma Sample 0737-19A
Time: 60 min
Count: 1027 (145)
Time: 60 min wash
Count: 362
Note: Before wash count matches the CI of stage 3 (500-1200)
After wash count slightly lower CI for stage 3 (155-304)
Note: 2.4 % response to miRNA-21

## Slide 7
Scale bar: 10 µm
PANORAMA of Plasma Sample 0737-24A
Time: 60 min
Count: 525 (188 large)
Time: 60 min wash
Count: 109
Note: Before wash count matches the CI of stage 3 (500-1200)
After wash count matches the CI for stage 3 (155-304)
Note: 0 % response to miRNA-21

## Slide 8
Scale bar: 10 µm
PANORAMA of Plasma Sample 0737-25A
Time: 60 min
Count: 863 (247 large)
Time: 60 min wash
Count: 166
Note: Before wash count matches the CI of stage 3 (500-1200)
After wash count matches the CI for stage 3 (155-304)
Note: 0 % response to miRNA-21

## Slide 9
Scale bar: 10 µm
PANORAMA of Plasma Sample 0737-27A
Time: 60 min
Count: 712 (375 large)
Time: 60 min wash
Count: 184
Note: Before wash count matches the CI of stage 3 (500-1200)
After wash count matches the CI for stage 3 (155-304)
Note: 4 % response to miRNA-21

## Slide 10
Scale bar: 10 µm
PANORAMA of Plasma Sample 0737-29A
Time: 60 min
Count: 1963 (935 large)
Time: 60 min wash
Count: 247
Note: Before wash count higher than CI of stage 3 (500-1200)
After wash count matches the CI for stage 3 (155-304)
Note: 9 % response to miRNA-21

## Slide 11
Scale bar: 10 µm
PANORAMA of Plasma Sample 0737-30A
Time: 60 min
Count: 740 (246 large)
Time: 60 min wash
Count: 129
Note: Before wash count matches CI of stage 3 (500-1200)
After wash count slightly lower than CI for stage 3 (155-304)
Note: 0 % response to miRNA-21

## Slide 12
Scale bar: 10 µm
PANORAMA of Plasma Sample 0737-31A
Time: 60 min
Count: 990 (200 large)
Time: 60 min wash
Count: 303
Note: Before wash count matches CI of stage 3 (500-1200)
After wash count matches CI for stage 3 (155-304)
Note: 0 % response to miRNA-21

## Slide 13
Scale bar: 10 µm
PANORAMA of Plasma Sample 0737-34A
Time: 60 min
Count: 2056 (1457 large)
Time: 60 min wash
Count: 154
Note: Before wash count exceeds CI of stage 3 (500-1200)
After wash count matches (lower end) CI for stage 3 (155-304)
Note: 0 % response to miRNA-21

## Slide 14
Scale bar: 10 µm
PANORAMA of Plasma Sample 0737-35A
Time: 60 min
Count: 1262 (589 large; 673 exosomes)
Time: 60 min wash
Count: 105
Note: Before wash count slightly higher than CI of stage 3 (500-1200)
After wash count slightly lower CI for stage 3 (155-304)
Note: 0 % response to miRNA-21

## Slide 15
Scale bar: 10 µm
PANORAMA of Plasma Sample 0737-41A
Time: 60 min
Count: 1222 (200 large)
Time: 60 min wash
Count: 110
Note: Before wash count matches CI of stage 3 (500-1200)
After wash count lower than CI for stage 3 (155-304)
Note: 0 % response to miRNA-21

## Slide 16
Scale bar: 10 µm
PANORAMA of Plasma Sample 0737-43A
Time: 60 min
Count: 1069 (364 large)
Time: 60 min wash
Count: 266
Note: Before wash count matches CI of stage 3 (500-1200)
After wash count matchesCI for stage 3 (155-304)
Note: 0 % response to miRNA-21

## Slide 17
Scale bar: 10 µm
PANORAMA of Plasma Sample 0737-47A
Time: 60 min
Count: 2106 (913 large)
Time: 60 min wash
Count: 357
Note: Before wash count higher than CI of stage 3 (500-1200)
After wash count matches higher end CI for stage 3 (155-304)
Note: 0 % response to miRNA-21

## Slide 18
Scale bar: 10 µm
PANORAMA of Plasma Sample 0737-48A
Time: 60 min
Count: 787 (165 large)
Time: 60 min wash
Count: 153
Note: Before wash count matches CI of stage 3 (500-1200)
After wash count lower end CI for stage 3 (155-304)
Note: 0 % response to miRNA-21

## Slide 19: All particles for healthy; stage 1 and 3
Chart: All Particle before wash

## Slide 20: All particles for healthy; stage 1 and 3

## Slide 21: Large particles for healthy; stage 1 and 3
Chart: Large Particle Before Wash

## Slide 22: Large particles for healthy; stage 1 and 3

## Slide 23: Exosomes before wash for healthy; stage 1 and 3
Chart: Exosomes before wash

## Slide 24: Exosomes before wash for healthy; stage 1 and 3

## Slide 25: Exosomes after wash for healthy; stage 1 and 3
Chart: Exosomes After Wash

## Slide 26: Exosomes after wash for healthy; stage 1 and 3